## Pt Augusta Metals in Air
Job ID: | 16_J-235 | Issue date: | Sheet 1 of 2
Site: | Alinta Ash Dam
Location: | Pt Augusta
Sampling Period: | 11/10/2016 to 27/10/2016
Method: | High Volume Sampler TSP Metals, Metalloid and Rare Earth Compositions in air
Sample ID | Analyte | Concentration
mg/m3
AB9183 | As | <0.001
| Ba | 0.005
| Be | <0.001
| Cd | <0.001
| Cr | 0.002
| Cu | 0.001
| Fe | 0.238
| Mn | 0.003
| Ni | <0.001
| Pb | 0.004
| Sr | 0.005
| Ti | 0.073
| V | 0.001
| Zn | 0.004
| Na | 3.712
| Ca | 0.742
| Mg | 0.371
| K | 0.223
| P | 0.032
| S | 1.102
| Bi | <0.001
| Co | <0.001
| Sb | <0.001
| Ce | 0.001
| Cs | <0.001
| Dy | <0.001
| Er | <0.001
| Eu | <0.001
| Gd | <0.001

## Appendix
Issue date: | 2016-11-29
Sampling locations: | Alinta Ash Dam, Port Augusta
Laboratory: | SA EPA Air Quality Laboratory, 310 Richmond Rd, Netley, SA 5037
Sampling and analysis methods:
| TSP HVS | AS3580.9.3 - 2003 | U95= ±9 µg/m3 @100 µg/m3
Uncertainty of Measurement: | The expanded uncertainties of measurements (U95) quoted above are at a confidence level of 95% with a coverage factor of 2. The values shown do not include any estimate of the effects associated with the sampling location.
* | Analysis provided by Queensland Health Scientific Services, NATA Accreditation # 41
** | This value does not include the uncertainties associated with the analysis by Q.H.S.S.
Report prepared by: | Senior Scientific Officer, Air Monitoring
Report checked by: | Strategic Adviser, Air Quality
File Integrity: | The laboratory locks all validated air quality data that is transmitted through a formal request. We acknowledge that this will limit the functions that can be executed on the transmitted file, making it a data reference. For the recipient to manipulate data we recommend that data is copied into a separate workbook. This will ensure data integrity for both the recipient and laboratory.