## Cover
AUGUSTA
POWER STATIONS
EPA Report
2016-01-01
This is the emissions monitoring report for Port Augusta Power Stations
for the month of January 2016
Northern Power Station
Unit 1 was offline for a tube leak early in the month
Unit 2 was offline towards the middle of the month due to a tube leak
Unit 2 encountered a gas analyser problem in the second half of the month
Playford Power Station
Playford was offline for the entire month
Ambient Monitoring Station
Ambient Particulates
No Port Augusta weather data for the 1st of January.
Lots of red dust was viewed on the filters at Stirling Nth.
As notified earlier high dust levels at Tennis Association due to council storing large amounts
of road material adjacent air samplers
Road material moved on the week starting the 4th of January 2016
(loose material on ground may take a while to settle)
Tsp sampler at Hospital malfunctioned early in the month and needed to be replaced
loosing three sample days

## Tsp-PM10
Port Augusta Total Suspended Particulate Report
JANUARY 2016
TOTAL SUSPENDED PARTICULATES AND PM10 JANUARY 2016
[6 empty] | Site | Monthly Maximum | 12 Monthly Geometric Mean | PM10 Arithetic Mean | Limit TSP 120ug/m3 | Limit PM10 50ug/m3
[6 empty] | LMO (Tsp) | 90 | 35 |  | 120
[6 empty] | STN (Tsp) | 261 | 39 |  | 120
| Units: ug/m3 @25C, 1 atm. |  |  |  |  | PAH (Tsp) | 57 | 26 |  | 120
[6 empty] | TEN (Tsp) | 174 | 41 |  | 120
|  | Moving 12 Months |  |  |  | PIG (Tsp) | 78 | 24 |  | 120
Site | Monthly Maximum | Mean |  | No. Samples |  | LMO (PM10) | 45 |  | 13 |  | 50
|  | Geometric | Arithmetic | >120 (ug/m3) | >50 (ug/m3) | STN (PM10) | 126 |  | 17 |  | 50
Lea Memorial Oval (TSP) | 90 | 35 |  | 2 |  | PAH (PM10) |  |  |  |  | 50
Stirling North (TSP) | 261 | 33 |  | 9 |  | TEN (PM10) | 81 |  | 19 |  | 50
Hospital (TSP) | 57 | 32 |  | 1 |  | PIG (PM10) | 28 |  | 12 |  | 50
Tennis Club (TSP) | 174 | 42 |  | 6
Pigeon Club (TSP) | 78 | 27 |  | 0
Lea Memorial Oval (PM10) | 45 |  | 13 |  | 3
Stirling North (PM10) | 126 |  | 17 |  | 10
Tennis Club (PM10) | 81 |  | 19 |  | 9
Pigeon Club (PM10) | 28 |  | 12 |  | 0
Moving number of exceedances and geometric mean TSP not reported if data recovery <75%
No monthly data reported if no monitoring at location or if monitoring does not comply with flow and
sampling period requirements of AS 3580.9.6 - 1990
No Port Augusta weather data for the 1st of January.
Lots of red dust was viewed on the filters at Stirling Nth. and Tennis Association
As notified earlier high dust levels at Tennis Association due to council storing large amounts
of road material adjacent air samplers
Road material moved on the week starting the 4th of January 2016.
Loose material on ground will take a while to settle.

## Tsp-PM10 Data
|  |  | LEA MEMORIAL OVAL |  |  |  | STIRLING NORTH |  |  |  | PORT AUGUSTA HOSPITAL |  |  |  | PORT AUGUSTA TENNIS ASS. |  |  |  | PIGEON CLUB
|  |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY
|  |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C
YEAR | MNTH | DAY | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150
2016 | JAN | 1
|  | 7 | 92.2307 | 84.4925 |  |  | 245.6109 | 225.0041 | [6 empty] | 190.4678 | 174.4875 |  |  | 73.3169 | 67.1656
|  | 13 | 64.946 | 59.497 |  |  | 285.3583 | 261.4167 | [6 empty] | 146.6986 | 134.3906 |  |  | 84.7123 | 77.605
|  | 19 | 98.1241 | 89.8915 |  |  | 95.7795 | 87.7436 |  |  | 62.1266 | 56.9142 |  |  | 134.0388 | 122.7929 |  |  | 79.9443 | 73.237
|  | 25 | 63.7435 | 58.3954 |  |  | 86.0682 | 78.8471 |  |  | 47.1431 | 43.1878 |  |  | 60.0485 | 55.0104 |  |  | 30.7695 | 28.1879
|  | 31 | 30.5412 | 27.9788 | 0 | 0 | 56.0823 | 51.377 | 2 | 2 | 22.3448 | 20.4701 | 0 | 0 | 55.8113 | 51.1287 | 3 | 1 | 17.0698 | 15.6376 | 0 | 0
|  |  | LEA MEMORIAL OVAL |  |  |  | STIRLING NORTH |  |  |  | PORT AUGUSTA HOSPITAL |  |  |  | PORT AUGUSTA TENNIS ASS. |  |  |  | PIGEON CLUB
|  |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY
|  |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C
YEAR | MNTH | DAY | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150
2016 | JAN | 1
|  | 7 | 49.035 | 44.9209 |  |  | 109.6708 | 100.4694 | [6 empty] | 80.6117 | 73.8484 |  |  | 30.7502 | 28.1703
|  | 13 | 32.2863 | 29.5775 |  |  | 137.8379 | 126.2733 | [6 empty] | 88.6862 | 81.2455 |  |  | 23.6479 | 21.6639
|  | 19 | 35.5261 | 32.5455 |  |  | 66.2402 | 60.6827 | [6 empty] | 69.3782 | 63.5574 |  |  | 29.1326 | 26.6884
|  | 25 | 25.9775 | 23.798 |  |  | 33.7241 | 30.8946 | [6 empty] | 31.2232 | 28.6036 |  |  | 14.4765 | 13.2619
|  | 31 | 8.3375 | 7.638 | 0 | 0 | 9.5402 | 8.7398 | 3 | 0 |  |  | 0 | 0 | 15.5103 | 14.209 | 3 | 0 | 6.1495 | 5.6335 | 0 | 0